Jautājumi un atbildes – 27.02.2013.
Jautājumi:

1) Nav iespējams nodrošināt ar vienu mērītāja izmēru mērdiapazonu no

0.25...75 m3/h ar precizitāti 0.3...0.6 %.

2) Kāds būs spiediens un vai tas var mainīties?
3) Temperatūra būs konstanta vai mainīsies?
Atbildes:

1) Kļūdainais precizitātes diapazons 0.3...0.6% ir izlabots uz pareizo 3...6%, skat. failu "Konkursa nolikums - precizēts" LUFI mājas lapā http://ipul.lv/iepirkumi/ (informācija par grozījumiem konkursa dokumentos publicēta IUB Publikāciju vadības sistēmā 08.02.2013.).
2) LUFI rīcībā esošās iekārtas strādā ar spiedienu, kas nepārsniedz 3bar.

3) Specifikācijā pieprasītais temperatūras diapazons ir 0-60°C, bet LUFI veiktajos eksperimentos temperatūra netiek speciāli mainīta un atbilst istabas temperatūrai 15-25°C robežās.
Questions and Answers – 27.02.2013. 

Questions: 

1) It is not possible with a single size flowmeter ensure measurement range
0.25...75 m3/h with an accuracy of 0.3...0.6%. 

2) What will be the pressure, and may it change? 

3) Will temperature be constant or it can change? 

Answers: 

1) The erroneous precision range of 0.3...0.6% was corrected to the right 3...6%, see file „Procurement Regulation – Corrected” at the LUFI website http://ipul.lv/iepirkumi/  (information about changes in the tender documents has been published in the Publications Management System of the Procurement Monitoring Bureau on 08.02.2013). 

2) LUFI held devices working under pressure, which does not exceed 3bar. 

3) The temperature range required in the specification is 0-60°C, but temperature is not specifically altered for experiments conducted in the LUFI and matches the room temperature in the 15-25°C range.

